## Slide 1: Evacuation Modelling of Stadia using MassMotion
Rebecca Lawson and Oliver Gibson

## Slide 2: Outline
Project description
About the location – Allianz Stadium
Software
  MassMotion
  Modelling Results
Concert
  Real-life observations
Key Findings & recommendations

## Slide 3: Project description
Allianz Stadium | Sia Concert | Evacuation Modelling

## Slide 4: About the location – Allianz Stadium

## Slide 5: Stadium Concert Layout
Car Park
Sydney Cricket Ground
Moore Park Rd
NW
Stage
Tractor Chute
Driver Ave
To City
To Central station
To Buses
To Buses

## Slide 6: MassMotion – Inputs and assumptions
Simultaneous evacuation
Agent speed
  Normal distribution
  Fruin’s pedestrian planning & design
Agent dimensions
Maximum population
Disabled access

## Slide 7: Construction of Model

## Slide 8: Acceptance Criteria
Max time queuing
Queuing Times | Densities | Green Guide
Density limit 4 people/m2
8 mins

## Slide 9: Results – MassMotion

## Slide 10: Results

## Slide 11: Recommendations
More exit width
  Additional stair
Use aisles
Open up barriers

## Slide 12: End of Concert Egress

## Slide 13: Observations - Human Behaviour
NW Temporary Stair – Entry point
NE Temporary Stair – Exit only
Tractor Chute – Toilets / Bar/ Food

## Slide 14: Precinct Movement
Car Park
Sydney Cricket Ground
Moore Park Rd
NW
Stage
Tractor Chute
Driver Ave
To City
To Central station
To Buses
To Buses

## Slide 15: Key Learnings and Recommendations
Why did people move away from less congested exits routes?
  Exit familiarity (fire engineering)
  Stadium layout (pedestrian planning)
Differences in occupant behaviour between model and real-life
Client was highly responsive to recommendations  valuable exercise
Design the stadium layout and exit capacity for evacuation and egress at initial stages of design so that there will be less congestion and queuing due to human behaviour to manage.